## IQC
Date | Test | Instrument | Level | Lot | Result | Unit | Target

## EQA
Round | Round date | Analyte | Sample | Unit | Own result | Method group | x group | sd group | n group | SEM group | x all methods | sd all | n all | Target % | Instrument | Replicates | Notes
26/3 | 2026-06-10 | ALP | S001 | U/l | 83.9 | IFCC methods ALP (IFCC2011) | 90 | 4.6 | 130 | 0.5 | 89.9 | 4.8 | 137 | 12 | cobas-1 | 1 | EXAMPLE — delete
26/3 | 2026-06-10 | ALP | S002 | U/l | 63.9 | IFCC methods ALP (IFCC2011) | 66.1 | 6 | 130 | 0.7 | 65.9 | 6 | 137 | 12 | cobas-1 | 1 | EXAMPLE — delete

## Analytes
Labquality code | Roche C.f.a.s. u_cal entry | u_cal | Models that can run
ALP | ALP | built in | all nine
ALT | ALT | built in | all nine
AST | AST | built in | all nine
Alb | Albumin | built in | all nine
Amyl | Amylase | built in | all nine
CK | CK | built in | all nine
Ca | Calcium | built in | all nine
Chol | Cholesterol | built in | all nine
Crea | Creatinine | built in | all nine
Fe | Iron | built in | all nine
GT | GGT | built in | all nine
Glucose | Glucose | built in | all nine
LD | LDH | built in | all nine
Lipase | Lipase | built in | all nine
Mg | Magnesium | built in | all nine
Pi | Phosphorus | built in | all nine
Prot | Total Protein | built in | all nine
Trigly | Triglyceride | built in | all nine
Urea | Urea | built in | all nine
Uric acid | Uric Acid | built in | all nine
Chol-HDL | — | missing | EQA-based models only (no ISO/TS 20914)
Chol-LDL | — | missing | EQA-based models only (no ISO/TS 20914)
IgA | — | missing | EQA-based models only (no ISO/TS 20914)
IgG | — | missing | EQA-based models only (no ISO/TS 20914)
IgM | — | missing | EQA-based models only (no ISO/TS 20914)
Transf | — | missing | EQA-based models only (no ISO/TS 20914)

## README
VerifyMyMU — data template
Helse Møre og Romsdal · cobas c703 · two clinical chemistry analysers · Labquality EQA
Sheet 1 — IQC (keep it first: the tool reads the first sheet of the workbook)
One row per measurement. If a control is measured twice on the same day, enter two rows — do not average them;
the tool finds same-day replicates itself and uses them for the within-day variance component.
Each control level must have its own lot number.
If the same lot number is used for two levels the tool treats them as one level. Commercial lot codes usually
encode the level in the last digit (…01 / …02 / …03); in that case the "By lot-code suffix" grouping mode splits
them correctly. Filling the Level column as well makes it safer still. Target is optional.
Enter the two analysers separately (cobas-1 / cobas-2): the tool pools them per ISO/TS 20914 §6.4.
You do not have to use this layout.
The tool also accepts an instrument or LIS export as it comes — xlsx, xls, csv, tsv, any delimiter, a title block
above the table, decimal comma, day-first dates. If the column names are not recognised it opens a "Column
mapping" panel where you point at the analyte, result, date, lot and instrument columns and see a live preview.
Sheet 2 — EQA
One row per round × analyte × sample, i.e. 26 analytes × 2 samples = 52 rows per round.
The blue columns are optional but valuable:
• SEM group — the uncertainty of the assigned value as printed by Labquality. It follows ISO 13528 §7.7
(1.25·s*/√p), which is 25 % larger than the Nordtest expression s_R/√p. The tool lets you choose which to use.
• x / sd / n all methods — the all-method statistics, which let the method group’s own deviation be measured.
The first two rows are an EXAMPLE (grey, italic) — delete them before entering your own data.
At least six rounds are needed; more is better (the bias term carries n−1 degrees of freedom).
Sheet 3 — Analytes
Which of the 26 Labquality analytes already have a Roche C.f.a.s. calibrator uncertainty in the tool.
Twenty analytes can run all nine models. Chol-HDL, Chol-LDL, IgA, IgG, IgM and Transf have no u_cal entry yet,
so the ISO/TS 20914 branch cannot run for them — either leave them out or send the C.f.a.s. values and they
will be added.
Where to get the numbers
If LabScala offers an Excel or CSV export, use it — the PDF text layer shifts columns and automatic reading is
unreliable. Otherwise send one PDF report per round and the values will be read from the page images.
Three questions still open
a) Are results submitted to Labquality from both analysers, or does only one participate?
b) How many replicate measurements are made on each EQA sample? (usually 1 — ISO 21748 Formula 15 needs it)
c) How many rounds per year, and how many round reports are available?